Memorandum:

Date:  October 17, 2011

To:  File 81-2006

From:  Craig L. Saxton

Re:  Recommendation review for SRBA claim 81-2006:

POD:

No evidence of if the POD for 81-2006 is the same POD as was found by the examiner during the licensing field exam for 81-7089.  I will assume they are the same POD.  Without additional evidence, and since I am to recommend 81-2006 as it existed as of the commencement of the SRBA, the field exam for 81-7089 conducted on August 5, 1987, is the best information available to me.  Recommend POD and diversion rate for 81-2006 as found during the 81-7089 licensing field examination.  Used same GIS point that was digitized for 81-7089.

Volume:

Two ponds will be recommended under this claim and will be identified as an accomplished change in nature of use.  Using data from the 81-7089 field examination report and statements from the claimant, two of the existing 4 ponds will be recommended as being in place as of the commencement of the SRBA.  The size of those ponds were calculated using data from multiple sources:

POND 1:  Surface area was measured using 2009 aerial photography in ArcMap and was found to  be roughly 125’ x 65’.  The depth used for Pond 1 was taken from the 1987 field exam for 81-7089.  The exam shows 10 feet deep and then crosses out the 10 and writes in 7 feet deep.  I will use the 10’ deep number but will account for slope (0.4) for the pond bottom when calculating overall volume.  This was not done in the original volume calculation for this pond when 81-7089 was licensed.

Pond 4:  I cannot make out the details of pond 4 in the aerial photography, but can see something.  Am using the claimants measurement s for the surface area calculation of 140’ x 45’.  The maximum depth of 15’ was taken from estimates provided by Northern Region IDWR staff that had been on site.

Evaporation losses for the ponds were calculated using precipitation deficit data from ETidaho for the Kooskai (NWS – 105011) area.  Numbers are for open water – small stock ponds.  Overall evaporative losses calculated to be 0.4 AFA.

Seepage losses and flow through volume requirements were calculate using the spreadsheet in Allocations Application Processing Memo #67.   Seepage losses were calculated to be 24.2 AFA (conservatively) assuming a clay soil type.  The system does flow through and at the original licensed rate of 1 cfs would require 723.9 AFA.

So using the evidence I have at hand, the volume requirements for the water use claimed is:

0.4 AFA		evaporation loss

24.2 AFA	seepage loss

723.9 AFA	flow through

1.6 AFA 	Pond volume

Total =  750.1 AFA.

81-2006 was licensed for the following uses:

Water Use		Volume

Domestic – 1 home:	Standard domestic volumes for internal use is 0.6 AF

Irrigation – 10 acres:	Consumptive use requirements for irrigation in the area is 2 AF/ac, or 20 AF

Industrial:		(Unknown)

Fire Protection:		There is no volume associated with fire protection because you don’t need a water right for fire protection.

Therefore, there is only 20.6 AF that can be allocated to this right.

Overlap:

81-7089 appears to also be for Pond #1 and has a licensed volume of 1.0 AFA which can account for the initial fill of pond #1.  The volume for the initial fill of pond 1 is not included in this recommendation

Recommended Volume:

0.4 AFA		evaporation loss

19.6 AFA	seepage loss

0.6 AFA 	Pond #2 volume

Total =  20.6 AFA.

Volumes for Ponds 2 and 3, and flow through volume will need to be covered under a new permit.

Diversion Rate:

Licensing field for 81-7089 conducted on August 5, 1987 listed capacity as 0.06 cfs.  The current point of diversion uses a 6 inch pipe to divert water to pond #1.  General pipe conversion shows a 6 inch pipe diverts 0.98 cfs which is really close to the 1.0 cfs originally licensed.  Recommend a diversion rate of 1.0 cfs despite that in 1987, the capacity seemed to only be 0.06 cfs.  Since this is based on an old license, if the current system has the capacity to divert the 1.0 cfs, I will support it in the recommendation.